## Sheet1
TOWN OF RICHMOND WASTEWATER TREATMENT FACILITY
July 2019 Bill for: Stone Corral Brewery
C/O Peter & Heidi Bormann Huntington Road Acct. # 1760
Monthly
| Biochemical Oxygen Demand (BOD) |  |  |  | Costs
| Flow Gallons for the Month |  | 3525
| Monthly Flow in MGD for BOD |  | 0.003525
| BOD strength per state report, mg/L: |  | 2334 | mg/L
| Total BOD lbs (monthly flow in MGD X 8.34 X BOD strength) |  | 68.6161 | lbs
| Less normal load (monthly flow in MGD X 8.34 X 250 BOD strength) |  | 7.3496 | lbs
| Excess loading (total BOD lbs – normal load) |  | 61.2665 | lbs
BOD cost calculation:
| WWLC / lbs of BOD per yr for the WWTF) |  | 0.85 | /lb.
| MONTHLY BOD COST ABOVE NORMAL LOAD |  |  |  | 52.0765
Base Rate Charges
| Commercial/Government Wastewater base rate |  | 562.56
| Monthly Base Rate for Industry |  | 46.88
| Fee to reserve loading (15% x Monthly Base Rate for Industryl) |  | 7.032
| MONTHLY BASE RATE CHARGES |  |  |  | 53.912
Flow Charges
| Water usage for the month based on water meter |  | 40400 | gallons
| minus beer produced |  | 2742 | gallons
| minus high strength beer waste (HSBW) |  | 1535 | gallons
| minus solids from holding tank (SFHT) |  | 15 | gallons
| Total wastewater to be billed for flow: |  | 36108 | gallons
| Commercial metered rate Wastewater rate per 1000 gallons |  | 17.83
| MONTHLY FLOW COST |  |  |  | 643.8056
| TOTAL, ALL REGULAR COSTS TO BE BILLED FOR THIS MONTH |  |  |  | 749.7941
Total wastewater budget:
| Wastewater Administration | 192388
| Wastewater Flow Costs | 54200
| Wastewater Load Costs (WWLC) | 152700
| Wastewater Capital Costs | 182712
| Total | 582000
At 365 Days, 5/1/18 – 4/30/19; Total Influent BOD Pounds = 180,758 lb/BOD/yr
Surcharge Rate for BOD = $152,700/180,758 or $0.85