Richmond Water and Sewer

Commission Meeting

# March 7, 2011 MINUTES

Members Present:		Erik Filkorn, Chair; Jon Kart, Vice-Chair; Chris Granda; Bruce Bailey

Members Absent:		Harold Irish;

Others Present:		Geoffrey Urbanik, Town Administrator; and Ruth Miller was present to videotape the meeting for MMCTV Channel 15.

Chairman Filkorn called the meeting to order at 6:30 p.m.

# Public Comment

Chairman Filkorn opened the floor for public comment but there was none.

- Other Business

Approval of Minutes:  February 7, 2011

These minutes were tabled until the next meeting.

Water Emgergency

The Administrator reported that early this morning a pipe under the well house broke, allowing the water storage tank to drain back through the well house, filling it and destroying the electrical equipment inside the well house.  Thus the town had lost its water storage and also the ability to pump water.  Kendall Chamberlin had shut down valves and gotten water haulers to bring potable water to the tank.  However, due to the circumstances, a boil water advisory was issued for the entire system.  This was discussed at length by the commissioners, as was the ability to create a more reliable way of getting information out to the customers in emergencies.

The Administrator also presented a purchase order to Milton Cat for repairs to the generator in the amount of $1,500.  Mr. Kart moved to approve this purchase order and was seconded by Mr. Bailey and the motion carried 4-0.

There was discussion about the costs and how to pay.  The Administrator said it was impossible to tell at this time, but it was likely a $50,000 repair and there was $48,000 in reserves.  There was significant discussion on this.

Mr. Kart also offered a motion that the Administrator be authorized to get the system repaired and operational in a responsible manner, not to exceed $48,000 and was seconded by Mr. Granda and the motion carried 4-0.

# Adjourn

Motion by Mr. Bailey  to adjourn the meeting at 7:00 p.m.  Seconded by Mr. Kart.  So voted.